## Sheet1
Installation | Transformer | Distribution | Nr. of power alarms L1 | % of time of power alarms L1 | Nr. of power alarms L2 | % of time of power alarms L2 | Nr. of power alarms L3 | % of time of power alarms L3 | Nr. of overcurrent alarms L1 | % of time of overcurrent alarms L1 | Nr. of overcurrent alarms L2 | % of time of overcurrent alarms L2 | Nr. of overcurrent alarms L3 | % of time of overcurrent alarms L3 | Nr. of Power Fails (outage) | Nr. of Voltage dips | Avg time of Voltage dips (msec) | Nr. of Voltage swells | Avg time of Voltage swells (msec) | Latitude | Longitude
Ρ 3-19 ΜΑΡΚΟΠΟΥΛΟΥ | ΜΜ-423 |  | 9 | 0.04 | 89 | 1.17 | 112 | 1.31 | [6 empty] | 0 | 6 | 328 | 0 | 0 | 37.8898 | 23.9154
Ρ 3-19 ΜΑΡΚΟΠΟΥΛΟΥ | ΜΜ-423 | 102.408.000766 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 216 | 0 | 0 | 37.8898 | 23.9154
Ρ 3-19 ΜΑΡΚΟΠΟΥΛΟΥ | ΜΜ-423 | 102.408.000767 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7 | 281.2857 | 0 | 0 | 37.8898 | 23.9154
ΜΠ-161 ΠΑΛΛΗΝΗΣ | ΜΠ-297 |  | 76 | 0.61 | 26 | 0.12 | 1 | 0 | [6 empty] | 0 | 2 | 225 | 0 | 0 | 37.9693 | 23.8533